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[bookmark: _Toc365362347][bookmark: _Toc381972056][bookmark: _Toc423419430][bookmark: _Toc200800157]ANNEX 2 to GN-21: Summary Table of Change Notification
Guidelines on completing the Summary Table of Change Notification
This summary table is to be completed and submitted for all Change Notification applications (Technical Changes, Review Changes, Administrative Changes, and Notifications).
List the proposed changes, according to the “Category of change” categories in GN-21, to the registered medical device(s) in the summary table below. All applicable types of changes are to be included; any change not specified in this table will not be included for the change notification application.
Information to be included in the table is explained below:
(i) Type of changes: Please state clearly the type of change, category of change and SMDR device listing number. 
· With reference to the ‘type of changes’ categories in GN-21, highlight the type of change proposed.
· Specify the SMDR device listing number for the registered medical device(s) included in this change (if the proposed change is identical and applicable to identical devices across multiple device listings on the SMDR; list the applicable device listings). Confirm these device(s) subjected to the change. 
NOTE 		All applicable types of changes are to be included. If the types of change proposed affects/results in another type of change, all types of changes shall be included. For example, change in material of device and change (update) of labelling often occur together. 
(ii) Present: Please state clearly the current scope and aspects of the device to be changed.  
(iii) Proposed: Please state clearly the proposed scope and aspects of change.  
(iv) Reason for change: Please state clearly the rationale for the proposed scope and aspects of change.  
(v) Status of proposed change in reference agencies: Please state the reference agency status (approved/authorised for marketing) for these proposed changes. 
(vi) Indicate in the check box if the medical device(s) in this Change Notification application is a subject of an on-going field safety corrective action.             



Please select the correct box.
The change(s) in this Change Notification application is/are related to field safety corrective action and/or reportable adverse events.
   Yes    No 
R7 ►  Is there an on-going Change Notification for listing(s) in this application. 
   Yes    No  
If yes, job reference no.: ______________. 
Note: At the point of submission, there can be no more than two (2) CN applications that are active for the same listing. A CN application will be rejected in its entirety if any listing within it already has two (2) active CN applications. There will be no refund of any fees paid. ◄

	Type of Changes
	Present
	Proposed
	Reason for change#
	Status of proposed change in reference agencies* 

	Justification for not submitting documents as specified in Annex 1 to GN-21: Change Notification Checklist 

	Type of change:
e.g. Change in material: Delivery tube material changed from polyvinyl chloride (PVC) to silicone 
Category: 
Notification
SMDR Device listing no(s): 
(same tubing is in all the SMDR Device listing below)
(i) DE 001111, 
(ii) DE 002222, 
(iii) DE 003333, 
(iv) DE 004444.
	Delivery tube material: polyvinyl chloride (PVC) 


	Delivery tube material  silicone 



	Improve patient safety by changing to DEHP-free tubing material
	Australia TGA – pending 
EU Notified Body – approved/authorised for marketing 
Health Canada – not supplied 
US FDA – not supplied
Japan MHLW – not supplied
	

	Type of change:
e.g. Change in Manufacturing Facility

Category: 
SMDR Device listing no(s):  DE 005555
	Name and address of current manufacturing facility A
	Name and address of new manufacturing facility B
	Reason for product owner’s decision to move manufacturing activities from facility A to facility B
	Australia TGA – pending 
EU Notified Body – approved/authorised for marketing 
Health Canada – not supplied 
US FDA – not supplied
Japan MHLW – not supplied
	

	Type of change:
e.g. Other labelling changes

Category: Notification
☒ Bundled Notification Changes in the last 6 months

SMDR Device listing no(s):  DE 005555
	Description of present labelling
	Description of proposed labelling 
	Reason for labelling change
	NA
	


* Applicable for changes to add new models, and revision to indications of use only
# Indicate the HSA FSCA Reference no. (e.g. 2020-FSCA-000001) for changes related to reportable FSCA/ local AE, if applicable    
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