## List of configurations
ANNEX 2 to GN 17 (Guidance on the Common Submission Dossier Template for General Medical Devices) and GN 18 (Guidance on the Common Submission Dossier Template for In Vitro Diagnostic Medical Devices)
LIST OF CONFIGURATIONS OF MEDICAL DEVICE TO BE REGISTERED
Guidelines on completing the table below: 1. For the “Name as per Device Label” column: (a) For a medical device family, list the names of the constituent members in this column. Enter the identifier associated with each constituent member in the “Identifier” column. (b) For a medical device group, list the names of the constituent medical devices in this column. Enter the identifier associated with each constituent medical device in the “Identifier” column. (c) For a medical device system, list the names of every constituent component in this column. Enter the identifier associated with each constituent component in the “Identifier” column. (d) For an IVD test kit, list the names of every constituent reagent and article in this column. Enter the identifier associated with each constituent reagent and article in the “Identifier” column. Note: For implants, please use the "List of config (w File Mapping)" worksheet. 2. For the “Identifier” column, identifier refers to a unique series of letters or numbers or any combination of these or a bar code that is assigned to a medical device by the product owner and that identifies it and distinguishes it from similar devices. Examples of an identifier for a device are a barcode, catalogue, model or part number. 3. For the “Brief Description of Item” column, give a brief description of the key distinguishing attributes or specifications of each item. This may include clinical size (including Volume, Length, Gauge, Diameter) and/or SaMD Version number/ software version number for the medical device model. The exact software version that represents all software changes/iteration (e.g. graphic interface, functionality, bug fixes and etc.) should be provided. Examples of a brief description of a constituent member of a family include the following: For percutaneous transluminal coronary angioplasty (PTCA) catheters: 10 mm balloon length and 2 mm balloon diameter. 4. A list of configurations is to be provided with each FAMILY/GROUP/IVD TEST KIT/SYSTEM/IVD CLUSTER medical device application. 5. For the 'UDI-DI' or 'DM-DI' columns: (a) Update of UDI-DI or DM-DI of medical devices should be as per respective compliance date based on the risk class as stated in GN-36: Guidance on Medical Device Unique Device Identification (UDI) System. (b) DM-DI(s) column to be updated only if DM-DI available is different from UDI-DI. (c) Use comma to separate multiple UDI-DI(s) or DM-DI (s) (For eg. UDI#1, UDI#2, UDI#3). (d) If the UDI-DI or DM-DI information is not available, applicant should leave the UDI-DI/DM-DI fields in the excel file “empty” (i.e. not required to fill in any information).
Name of Medical Device FAMILY/GROUP/IVD TEST KIT/SYSTEM:
Proposed Grouping for Medical Device (FAMILY/GROUP/IVD TEST KIT/SYSTEM):
Name as per Device Label | Identifier | UDI-DI(s) | DM-DI(s) | Brief Description of Item (e.g. the key distinguishing attributes, specifications of each item (including Volume, Length, Gauge, Diameter) and/or SaMD Version number/ software version number)

## List of config (w File Mapping)
ANNEX 2 to GN 17 (Guidance on the Common Submission Dossier Template for General Medical Devices) and GN 18 (Guidance on the Common Submission Dossier Template for In Vitro Diagnostic Medical Devices)
LIST OF CONFIGURATIONS OF MEDICAL DEVICE TO BE REGISTERED
Guidelines on completing the table below: 1. For the “Name as per Device Label” column: (a) For a medical device family, list the names of the constituent members in this column. Enter the identifier associated with each constituent member in the “Identifier” column. (b) For a medical device group, list the names of the constituent medical devices in this column. Enter the identifier associated with each constituent medical device in the “Identifier” column. (c) For a medical device system, list the names of every constituent component in this column. Enter the identifier associated with each constituent component in the “Identifier” column. (d) For an IVD test kit, list the names of every constituent reagent and article in this column. Enter the identifier associated with each constituent reagent and article in the “Identifier” column. Note: For implants, please use the "List of config (w File Mapping)" worksheet. 2. For the “Identifier” column, identifier refers to a unique series of letters or numbers or any combination of these or a bar code that is assigned to a medical device by the product owner and that identifies it and distinguishes it from similar devices. Examples of an identifier for a device are a barcode, catalogue, model or part number. 3. For the “Brief Description of Item” column, give a brief description of the key distinguishing attributes or specifications of each item. This may include clinical size (including Volume, Length, Gauge, Diameter) and/or SaMD Version number/ software version number for the medical device model. The exact software version that represents all software changes/iteration (e.g. graphic interface, functionality, bug fixes and etc.) should be provided. Examples of a brief description of a constituent member of a family include the following: For percutaneous transluminal coronary angioplasty (PTCA) catheters: 10 mm balloon length and 2 mm balloon diameter. 4. A list of configurations is to be provided with each FAMILY/GROUP/IVD TEST KIT/SYSTEM/IVD CLUSTER medical device application. 5. For the 'UDI-DI' or 'DM-DI' columns: (a) Update of UDI-DI or DM-DI of medical devices should be as per respective compliance date based on the risk class as stated in GN-36: Guidance on Medical Device Unique Device Identification (UDI) System. (b) DM-DI(s) column to be updated only if DM-DI available is different from UDI-DI. (c) Use comma to separate multiple UDI-DI(s) or DM-DI (s) (For eg. UDI#1, UDI#2, UDI#3). (d) If the UDI-DI or DM-DI information is not available, applicant should leave the UDI-DI/DM-DI fields in the excel file “empty” (i.e. not required to fill in any information).
Name of Medical Device FAMILY/GROUP/IVD TEST KIT/SYSTEM:
Proposed Grouping for Medical Device (FAMILY/GROUP/IVD TEST KIT/SYSTEM):
Please list file names below
Name as per Device Label | Identifier | UDI-DI(s) | DM-DI(s) | Brief Description of Item (e.g. the key distinguishing attributes, specifications of each item (including Volume, Length, Gauge, Diameter) and/or SaMD Version number/ software version number) | Labels | IFU | Australia TGA | Health Canada | Japan MHLW | US FDA | EC Certificate | EU DoC | Biocompatibility | Sterilization Validation | Shelf Life Report | Bench Test

## Example (Implant)
Name of Medical Device FAMILY/GROUP/IVD TEST KIT/SYSTEM: | HSA Zen Tibia Plate
Proposed Grouping for Medical Device (FAMILY/GROUP/IVD TEST KIT/SYSTEM): | System
Name as per Device Label | Identifier | UDI-DI(s) | DM-DI(s) | Brief Description of Item (e.g. the key distinguishing attributes, specifications of each item (including Volume, Length, Gauge, Diameter) and/or SaMD Version number/ software version number) | Labels | IFU | Australia TGA | Health Canada | Japan MHLW | US FDA | EC Certificate | EU DoC | Biocompatibility | Sterilization Validation | Shelf Life Report | Bench Test
HSA Zen Tibia Plate, Left 96MM | ZENTL96S | 123456789000 |  | HSA Zen Tibia Plate, Left 96MM, Sterile | zen_tibia_plate_labels_r1.pdf | IFU_Zen_Implants_EN_R1.pdf | Not submitted | Not submitted | Not submitted | K25000.pdf | Zen_MDR-ECCert.pdf | Zen_MDR-ECDoC.pdf | BER.pdf | Sterilization.pdf | Accelerated Aging Report.pdf, Packaging Validation.pdf | Physical tests.pdf
HSA Zen Tibia Plate, Left 122MM | ZENTL122S | 123456789001 |  | HSA Zen Tibia Plate, Left 122MM, Sterile | zen_tibia_plate_labels_r1.pdf | IFU_Zen_Implants_EN_R1.pdf | Not submitted | Not submitted | Not submitted | K25000.pdf | Zen_MDR-ECCert.pdf | Zen_MDR-ECDoC.pdf | BER.pdf | Sterilization.pdf | Accelerated Aging Report.pdf, Packaging Validation.pdf | Physical tests.pdf
HSA Zen Tibia Plate, Left 148MM | ZENTL148S | 123456789002 |  | HSA Zen Tibia Plate, Left 148MM, Sterile | zen_tibia_plate_labels_r1.pdf | IFU_Zen_Implants_EN_R1.pdf | Not submitted | Not submitted | Not submitted | K25000.pdf | Zen_MDR-ECCert.pdf | Zen_MDR-ECDoC.pdf | BER.pdf | Sterilization.pdf | Accelerated Aging Report.pdf, Packaging Validation.pdf | Physical tests.pdf
HSA Zen Tibia Plate, Right 96MM | ZENTR96S | 123456789003 |  | HSA Zen Tibia Plate, Right 96MM, Sterile | zen_tibia_plate_labels_r1.pdf | IFU_Zen_Implants_EN_R1.pdf | Not submitted | Not submitted | Not submitted | K25000.pdf | Zen_MDR-ECCert.pdf | Zen_MDR-ECDoC.pdf | BER.pdf | Sterilization.pdf | Accelerated Aging Report.pdf, Packaging Validation.pdf | Physical tests.pdf
HSA Zen Tibia Plate, Right 122MM | ZENTR122S | 123456789004 |  | HSA Zen Tibia Plate, Right 122MM, Sterile | zen_tibia_plate_labels_r1.pdf | IFU_Zen_Implants_EN_R1.pdf | Not submitted | Not submitted | Not submitted | K25000.pdf | Zen_MDR-ECCert.pdf | Zen_MDR-ECDoC.pdf | BER.pdf | Sterilization.pdf | Accelerated Aging Report.pdf, Packaging Validation.pdf | Physical tests.pdf
HSA Zen Tibia Plate, Right 148MM | ZENTR148S | 123456789005 |  | HSA Zen Tibia Plate, Right 148MM, Sterile | zen_tibia_plate_labels_r1.pdf | IFU_Zen_Implants_EN_R1.pdf | Not submitted | Not submitted | Not submitted | K25000.pdf | Zen_MDR-ECCert.pdf | Zen_MDR-ECDoC.pdf | BER.pdf | Sterilization.pdf | Accelerated Aging Report.pdf, Packaging Validation.pdf | Physical tests.pdf
HSA Zen Locking Screw 4.0MM / L14MM | ZENLS414S | 123456789006 |  | HSA Zen Locking Screw 4.0MM / L14MM, Sterile | zen_screw_labels_r1.pdf | IFU_Zen_Implants_EN_R1.pdf | Not submitted | Not submitted | Not submitted | K25000.pdf | Zen_MDR-ECCert.pdf | Zen_MDR-ECDoC.pdf | BER.pdf | Sterilization.pdf | Accelerated Aging Report.pdf, Packaging Validation.pdf | Physical tests.pdf
HSA Zen Locking Screw 4.0MM / L16MM | ZENLS416S | 123456789007 |  | HSA Zen Locking Screw 4.0MM / L16MM, Sterile | zen_screw_labels_r1.pdf | IFU_Zen_Implants_EN_R1.pdf | Not submitted | Not submitted | Not submitted | K25000.pdf | Zen_MDR-ECCert.pdf | Zen_MDR-ECDoC.pdf | BER.pdf | Sterilization.pdf | Accelerated Aging Report.pdf, Packaging Validation.pdf | Physical tests.pdf
HSA Zen Locking Screw 5.0MM / L14MM | ZENLS514S | 123456789008 |  | HSA Zen Locking Screw 5.0MM / L14MM, Sterile | zen_screw_labels_r1.pdf | IFU_Zen_Implants_EN_R1.pdf | Not submitted | Not submitted | Not submitted | K25000.pdf | Zen_MDR-ECCert.pdf | Zen_MDR-ECDoC.pdf | BER.pdf | Sterilization.pdf | Accelerated Aging Report.pdf, Packaging Validation.pdf | Physical tests.pdf
HSA Zen Locking Screw 5.0MM / L16MM | ZENLS516S | 123456789009 |  | HSA Zen Locking Screw 5.0MM / L16MM, Sterile | zen_screw_labels_r1.pdf | IFU_Zen_Implants_EN_R1.pdf | Not submitted | Not submitted | Not submitted | K25000.pdf | Zen_MDR-ECCert.pdf | Zen_MDR-ECDoC.pdf | BER.pdf | Sterilization.pdf | Accelerated Aging Report.pdf, Packaging Validation.pdf | Physical tests.pdf
HSA Zen Cortex Screw 4.0MM / L10MM | ZENCS410S | 123456789010 |  | HSA Zen Cortex Screw 4.0MM / L10MM, Sterile | zen_screw_labels_r1.pdf | IFU_Zen_Implants_EN_R1.pdf | Not submitted | Not submitted | Not submitted | K25000.pdf | Zen_MDR-ECCert.pdf | Zen_MDR-ECDoC.pdf | BER.pdf | Sterilization.pdf | Accelerated Aging Report.pdf, Packaging Validation.pdf | Physical tests.pdf
HSA Zen Cortex Screw 4.0MM / L12MM | ZENCS412S | 123456789011 |  | HSA Zen Cortex Screw 4.0MM / L12MM, Sterile | zen_screw_labels_r1.pdf | IFU_Zen_Implants_EN_R1.pdf | Not submitted | Not submitted | Not submitted | K25000.pdf | Zen_MDR-ECCert.pdf | Zen_MDR-ECDoC.pdf | BER.pdf | Sterilization.pdf | Accelerated Aging Report.pdf, Packaging Validation.pdf | Physical tests.pdf
HSA Zen Cortex Screw 5MM / L14MM | ZENCS514S | 123456789012 |  | HSA Zen Cortex Screw 5MM / L14MM, Sterile | zen_screw_labels_r1.pdf | IFU_Zen_Implants_EN_R1.pdf | Not submitted | Not submitted | Not submitted | K25000.pdf | Zen_MDR-ECCert.pdf | Zen_MDR-ECDoC.pdf | BER.pdf | Sterilization.pdf | Accelerated Aging Report.pdf, Packaging Validation.pdf | Physical tests.pdf
HSA Zen Cortex Screw 5MM / L16MM | ZENCS516S | 123456789013 |  | HSA Zen Cortex Screw 5MM / L16MM, Sterile | zen_screw_labels_r1.pdf | IFU_Zen_Implants_EN_R1.pdf | Not submitted | Not submitted | Not submitted | K25000.pdf | Zen_MDR-ECCert.pdf | Zen_MDR-ECDoC.pdf | BER.pdf | Sterilization.pdf | Accelerated Aging Report.pdf, Packaging Validation.pdf | Physical tests.pdf
HSA Zen K-wire | ZENKW200 | 123456789014 |  | HSA Zen K-wire, Non-sterile | zen_instrument_labels_r1.pdf | IFU_Zen_Instruments_EN_R1.pdf | Not submitted | Not submitted | HC25000.pdf | Class I Exempt | Zen_MDR-ECCert.pdf | Zen_MDR-ECDoC.pdf | BER.pdf | Not sterile | No shelf life claim | Physical tests.pdf
HSA Zen Drill Bit | ZEND280 | 123456789015 |  | HSA Zen Drill Bit, Non-sterile | zen_instrument_labels_r1.pdf | IFU_Zen_Instruments_EN_R1.pdf | Not submitted | Not submitted | Not submitted | Class I Exempt | Zen_MDR-ECCert.pdf | Zen_MDR-ECDoC.pdf | BER.pdf | Not sterile | No shelf life claim | Physical tests.pdf

## Example (IVD TEST KIT)
Name of Medical Device FAMILY/GROUP/IVD TEST KIT/SYSTEM: | XYZ HCV ELISA Test kit
Proposed Grouping for Medical Device (FAMILY/GROUP/IVD TEST KIT/SYSTEM): | IVD TEST KIT
Name as per Device Label | Identifier | UDI-DI(s) | DM-DI(s) | Brief Description of Item
XYZ HCV Reagent kit - Anti-HCV coated microparticles | CV750S-1 | 380740130176 |  | Anti-HCV mouse monoclonal coated in TRIS buffer.
XYZ HCV Reagent kit - Anti-HCV with conjugate | CV750S-2 | 380746130546 |  | Anti-HCV mouse monoclonal acridium labeled conjugated in TRIS buffer.
XYZ Assay Diluent | V120-D | 380740187176 |  | Phosphate buffer with recalcified human plasma
XYZ Pre-trigger solution | V120-PT | 380723476176 |  | Hydrogen peroxide
XYZ Trigger solution | V120-T | 380740167176 |  | Sodium hydroxide
XYZ Wash buffer | V120-W | 380712187176 |  | Phosphate buffered saline solution.
XYZ HCV Calibrator 1 | V120-L1 | 380740145176 |  | TRIS buffer
XYZ HCV Calibrators | V120-L | 380739130356 |  | rhHCV in TRIS buffer
XYZ HCV Controls - Positive Control | V120-C1A | 380740165926 |  | rhHCV in TRIS buffer
XYZ HCV Controls - Negative Control | V120-C2A | 380765781366 |  | human plasma

## Example (IVD SYSTEM)
Name of Medical Device FAMILY/GROUP/IVD TEST KIT/SYSTEM: | XYZ Autoblot system
Proposed Grouping for Medical Device (FAMILY/GROUP/IVD TEST KIT/SYSTEM): | SYSTEM
Name as per Device Label | Identifier | UDI-DI(s) | DM-DI(s) | Brief Description of Item
XYZ Autoblot system | DB612 | 380743453702 |  | Automated western blot analysis system. An open system for use with western blot kits/reagents.
XYZ 96 trays | D014 | 380784370002 |  | Accessory
XYZ Reagent bottles | D006 | 380954835002 |  | Solvent and reagent bottles
XYZ Waste bottles | D007 | 380754875873 |  | Collection of processed eluents/liquids

## Example (FAMILY)
Name of Medical Device FAMILY/GROUP/IVD TEST KIT/SYSTEM: | XYZ tracheostomy tubes
Proposed Grouping for Medical Device (FAMILY/GROUP/IVD TEST KIT/SYSTEM): | FAMILY
Name as per Device Label | Identifier | UDI-DI(s) | DM-DI(s) | Brief Description of Item
XYZ tracheostomy tube, 6mm | TR-1006 | 385045909176 |  | 6mm internal diameter, length 64mm
XYZ tracheostomy tube, 7mm | TR-1007 | 380453958646 |  | 7mm internal diameter, length 70mm
XYZ tracheostomy tube, 8mm | TR-1008 | 385834728599 |  | 8mm internal diameter, length 74mm
XYZ tracheostomy tube, 8mm, with obturator | TR-1008wO | 385376582370 |  | 8mm internal diameter, length 74mm with obturator