This form may take you 20-35 minutes to complete.

| ETTV/RETV CALCULATION FORMAT IN RESPECT OF AN AIRCONDITIONED BUILDING |  |
| --- | --- |
| Commissioner of Building Control Building & Construction Authority 52 Jurong Gateway Road #11-01 Singapore 608550 | INSTRUCTIONS: (1) Please refer to the Explanatory Notes attached before completing the form. (2) Use a separate set of forms for each building. (3) *Delete accordingly. - One copy of this form together with Appendix 1 to 4 to be submitted for each facade. |
| - *I/We, the Qualified Person(s) responsible for the preparation of the ETTV/RETV calculation and the building plans hereby submit, for your consideration, the ETTV /RETV calculation and detail plans for:- Project Ref. No. : _____________________________________________________________________________________ Description of Building/Building Works: __________________________________________________________________ ___________________________________________________________________________________________________ ___________________________________________________________________________________________________ ___________________________________________________________________________________________________ *Lot/Plot __________________________________________ *TS/MK ____________________________________ Address/Road: ______________________________________________________________________________________ __________________________________________________________________________________________________ |  |
| (2) The following are attached:- (a) _______________ sheets of Appendix 1 (b) _______________ sheets of Appendix 2 (c) _______________ sheets of Appendix 3 (d) _______________ sheets of Appendix 4 (e) _______________ sheets of detailed calculations on U-values and shading coefficients as stated in Explanatory Note 4; and (f) _______________ sheets of drawings/sketches as stated in Explanatory Note 1. |  |
| (3) The ETTVs /RETVs of the various facades are as follows:- (a) Facade 1 facing _______________________________, ETTV/RETV = ________________________ W/m2 (b) Facade 2 facing _______________________________, ETTV/RETV = ________________________ W/m2 (c) Facade 3 facing _______________________________, ETTV/RETV = ________________________ W/m2 (d) Facade 4 facing _______________________________, ETTV/RETV = ________________________ W/m2 (e) Facade 5 facing _______________________________, ETTV/RETV = ________________________ W/m2 (f) Facade 6 facing _______________________________, ETTV /RETV= ________________________ W/m2 (g) Facade 7 facing _______________________________, ETTV/RETV = ________________________ W/m2 (h) Facade 8 facing _______________________________, ETTV/RETV = ________________________ W/m2 |  |
| The average ETTV/RETV of the building envelope is _______________________ W/m2. |  |

| (4) I hereby certify that the ETTV/RETV calculation as detailed in this submission has been done in accordance with the Guidelines On Envelope Thermal Transfer Value for Buildings / Code on Envelope Thermal Performance for Buildings and that, to the best of my knowledge, the computed ETTV/RETV is correct. |  |
| --- | --- |
| Name & Address of Professional Firm | Name & Signature of Qualified Person who prepared the calculation |
| Date: | Tel No.: |
| (5) I hereby certify that the materials, methods of external shading and areas of the building envelope as detailed in this submission are correct, and that the building works *shall be/have been constructed in accordance with the envelope specifications outlined herein. |  |
| UEN (if a company) and Name & Address of Professional Firm | Name & Signature of Qualified Person who signed the building plans |
| Date: | Tel No.: |

### Appendix 1

| CALCULATION OF ETTV/RETV OF BUILDING ENVELOPE FACADE ORIENTATION: _________________________ (N, S, NW ETC) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| OPAQUE WALLS |  |  |  |  |  |  |  |  |  |  |
| S/No. | Brief Description |  |  |  |  | Aw | Uw |  | 12 x Aw x Uw |  |
| W1 |  |  |  |  |  |  |  |  |  |  |
| W2 |  |  |  |  |  |  |  |  |  |  |
| W3 |  |  |  |  |  |  |  |  |  |  |
| W4 |  |  |  |  |  |  |  |  |  |  |
| Subtotal |  |  |  |  |  |  |  |  |  |  |
| FENESTRATION |  |  |  |  |  |  |  |  |  |  |
| S/No. | Brief Description | Af |  | Uf |  |  |  | 3.4 x Af x Uf |  | 211 x Af x SC x CF |
| F1 |  |  |  |  |  |  |  |  |  |  |
| F2 |  |  |  |  |  |  |  |  |  |  |
| F3 |  |  |  |  |  |  |  |  |  |  |
| F4 |  |  |  |  |  |  |  |  |  |  |
| Subtotal |  |  |  |  |  |  |  |  |  |  |
| Gross Area of External Walls (Ao) |  |  | : ______________________________ m2 |  |  |  |  |  |  |  |
| Gross Heat Gain |  |  | : ______________________________ W |  |  |  |  |  |  |  |
|  |  |  | : ______________________________ W/m2 |  |  |  |  |  |  |  |

Appendix 2

| SUMMARY OF ENVELOPE AREA CALCULATION FACADE ORIENTATION: _________________________ (N, S, NW, ETC) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item No. | Type of Component | Marking/ Colour Code on Drawing | Drawing No. | Area of Each Unit (m2) | No. of Identical Units | Total Area (m2) |
| NOTE: Where the envelope design varies from floor to floor a separate area calculation should be presented for each floor. |  |  |  |  |  |  |

#### Appendix 3

| DESCRIPTION AND TECHNICAL SPECIFICATIONS OF OPAQUE WALL OF THE BUILDING ENVELOPE The particulars given below are for facade facing _______________ (N, S, NW, etc) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Wall Serial No. | W1 | W2 | W3 | W4 |
| Materials and thickness of wall |  |  |  |  |
| Materials and thickness of internal finish |  |  |  |  |
| Materials and thickness of external finish |  |  |  |  |
| Materials and thickness of insulation or air gap |  |  |  |  |
| Thermal transmittance of composite wall (Uw) in W/m2 oK |  |  |  |  |
| Weight of composite wall in Kg/m2 |  |  |  |  |
| Area in m2 |  |  |  |  |

Appendix 4

| ##### DESCRIPTION AND TECHNICAL SPECIFICATIONS OF FENESTRATION OF THE BUILDING ENVELOPE The particulars given below are for facade facing _______________ (N, S, NW, etc) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Fenestration Serial No. | F1 | F2 | F3 | F4 |
| Type and thickness of glass |  |  |  |  |
| Thermal transmittance (Uf) in W/m2 oK |  |  |  |  |
| Shading coefficient of glass or effective shading coefficient of glass with solar control film (SC1) |  |  |  |  |
| Method of external shading (if any) |  |  |  |  |
| Shading coefficient of external device (if any) (SC2) |  |  |  |  |
| Area in m2 |  |  |  |  |

EXPLANATORY NOTES FOR FORM BPD_BP04 & APPENDIX 1 TO 4

(1)	To facilitate checking, every submission of ETTV/RETV calculation shall be accompanied by the following:-

(a)	properly dimensioned elevation drawings of each external facade with a comprehensive colour code to identify the different wall and fenestration components;

(b)	floor plans with properly coloured outlines for all the external walls and windows which are included in the ETTV/RETV calculation;

(c)	sketch cross-sectional drawings of typical parts of the buildings envelope showing details of construction materials, insulating materials and surface finishes etc; and

(d)	if external shading devices are provided, sketches showing the spacing, protection and inclination of sun-louvres and fins in relation to fenestration.

(2)	The above drawings and sketches need not be separately provided if the requisite details have been incorporated into the building plan.

(3)	The detailed ETTV/RETV calculation, the summary of envelope area calculation and the description of envelope components shall be presented in the formats prescribed in Appendix 1 to 4 respectively.

(4)	The detailed calculation of U-value of composite materials and shading coefficients of external shading devices shall also be appended in suitable formats.

(5)	A consistent system of numbering envelope components, viz W1, Aw1, W2, Aw2, F1, Af1, F2, Af2, etc shall be used throughout the appendices for ease of reference.

(6)	The certification in para 4 shall be signed by the Qualified Person responsible for the ETTV/RETV calculation whereas the certification in para 5 shall be signed by the Qualified Person responsible for the design and construction of the project.