## Slide 1: Submission Template Integrated Buildability and Constructability Framework [Pilot]
Insert cover page
[e.g. Artist impression, Name of the development]

## Slide 2: Executive Summary
Project Name / Name of Development
Project Description / Address
Project Reference Number [BP]
1st URA PP Application Date and COP on Buildability Version
Site Area (m2)
GFA and CFA (m2)
Category of Buildings
[e.g. Residential Non-landed / Commercial / Industrial / Institutional / School / Mixed Development]
Project Commencement, Completion Date
Projected TOP Date [Duration of Construction in months]
Project Team [Developer, Consultants, Builder]
Contract Sum
Additional Information [e.g. Government Land Sales Programme, Incentive Schemes]

## Slide 3: Site layout plans and relevant drawings
Provide information on no. of blocks, storeys, basements

## Slide 4: Outline
Summary of Productive Technologies
Implementation Plans
Buildability [Pre-requisites, DfMA, Buildable Design Principles]
Constructability [Pre-requisites]
Integrated Digital Delivery [Pre-requisites and additional use cases]
Robotics & Automation
Other innovative technologies
For projects with min. productivity improvement requirements
Manpower Histogram [Manpower vs. Months]
Breakdown of computation

## Slide 5: Summary of Productive Technologies
DfMA / Prefabrication Level
Structural : X% APCS
Architectural: Y% Prefab
MEP: Z% Prefab
System Formwork: %
IDD
X no. of use cases
R&A
X solution for Y activity

## Slide 6: Buildability

## Slide 7: Buildability – Pre-requisites [All projects]
S/N | Item | Unit | Min (%) | Coverage (%) | Remarks
1 | Floor Mesh | Area | 65% |  | 
2 | Repetition of typical floor heights in multiples of 150mm or 175mm | No. | 80% |  | Input Storey Height
3 | Industry standard precast staircase for typical storeys | No. | 80% |  | Input Dimensions
4 | Prefabricated and pre-insulated duct for air-con system | Length | 65% |  | 

## Slide 8: Buildability – Pre-requisites [Residential Non-landed projects]
S/N | Item | Unit | Min (%) | Coverage (%) | Remarks
5 | Drywall | Length | Internal dry areas |  | 
6a | Precast household shelters | No. | 65% |  | 
6b | Industry standard precast household shelters | No. | 60% |  | Input Dimensions
7a | Prefabricated Bathroom Units | No. | 65% |  | 
7b | Industry standard Prefabricated Bathroom Unit | No. | 60% |  | Input Dimensions
8 | Industry standard door structural openings | No. | 65% |  | Input Dimensions
9 | Industry standard precast refuse chutes | No. | 80% |  | Input Dimensions

## Slide 9: Buildability – Pre-requisites
Provide supporting documentation that demonstrate compliance with pre-requisites including:
Drawings showing dimensions of components
Computation of coverage

## Slide 10: Buildability – Structural System
Structural Prefabrication Level: X%
Provide drawings clearly indicating:
Extent of each structural system
Colour-coded demarcation of different systems with legend

## Slide 11: Buildability – Structural System
Example:Block X | Constructed Floor Area (m2) |  |  |  | 
 | APCS | Prefab Slab and Column/Wall | Prefab Column/Wall only | Prefab Slab only | Flat Plate/ Flat Slab
1st Storey |  |  |  |  | 
2nd Storey |  |  |  |  | 
3rd Storey |  |  |  |  | 
.. |  |  |  |  | 
Sub-total |  |  |  |  | 
Total |  |  |  |  | 
For each block, tabulate the constructed floor area based on the adopted structural systems

## Slide 12: Buildability – Structural System [Buildable Features]
Provide supporting documentation demonstrating buildable features including drawings and computation of coverage

## Slide 13: Buildability – Architectural Wall System
Architectural Prefabrication Level: X%
Provide drawings clearly indicating:
Extent of each wall system
Colour-coded demarcation of different systems with legend

## Slide 14: Buildability – Architectural Wall System
Example:Block X | Wall Length (m) |  |  |  | 
 | Curtain Wall/ Prefab Railing | PBU | Precast Concrete Wall | Lightweight Concrete Panel | CIS Wall
1st Storey |  |  |  |  | 
2nd Storey |  |  |  |  | 
3rd Storey |  |  |  |  | 
.. |  |  |  |  | 
Sub-total |  |  |  |  | 
Total |  |  |  |  | 
For each block, tabulate wall length based on the adopted architectural wall systems

## Slide 15: Buildability – Architectural Finishes [Wall]
Provide drawings clearly indicating:
Extent of each wall finish type
Colour-coded demarcation of different finishes with legend

## Slide 16: Buildability – Architectural Finishes [Wall]
Example:Block X | Wall Length (m) |  |  |  | 
 | PBU | Prefab Prefinished Wall | Large Format Tiles | Skim Coat | Plastering / Tiles
1st Storey |  |  |  |  | 
2nd Storey |  |  |  |  | 
3rd Storey |  |  |  |  | 
.. |  |  |  |  | 
Sub-total |  |  |  |  | 
Total |  |  |  |  | 
For each block, tabulate extent of different wall finish types (measured by wall length)

## Slide 17: Buildability – Architectural Finishes [Floor and Ceiling]
Provide drawings clearly indicating:
Extent of each floor and ceiling finish type
Colour-coded demarcation of different finishes with legend

## Slide 18: Buildability – Architectural Finishes [Floor and Ceiling]
Example:Block X | Area with Finishes (m2) |  |  |  | 
 | PBU | Prefab Ceiling | Power Float Concrete Floor / Vinyl | Tiles | Others
1st Storey |  |  |  |  | 
2nd Storey |  |  |  |  | 
3rd Storey |  |  |  |  | 
.. |  |  |  |  | 
Sub-total |  |  |  |  | 
Total |  |  |  |  | 
For each block, tabulate extent of different floor and ceiling finish types (measured by area)

## Slide 19: Buildability – Architectural System [Buildable Features]
Provide supporting documentation demonstrating buildable features including drawings and computation of coverage

## Slide 20: Buildability – MEP System
PMEP Module Type | Qualifying Area (m2) | Prefabricated Area (m2)
Horizontal Modules |  | 
Vertical Modules |  | 
Plant Modules |  | 
Total |  | [X %]
MEP Prefabrication Level: X%
For each block, tabulate extent of prefabricated MEP systems (measured by area)

## Slide 21: Buildability – MEP [Horizontal/Vertical/Plant]
Provide drawings clearly indicating:
Extent qualifying and prefabricated area of each MEP system
Colour-coded demarcation of different systems with legend
Computation of coverage

## Slide 22: Buildability – MEP [Prefabricated Components]
Provide drawings clearly indicating:
Extent of each prefabricated MEP component
Colour-coded demarcation of different systems with legend
Computation of coverage

## Slide 23: Constructability

## Slide 24: Constructability – Structural System [Pre-requisite] Design optimisation for efficient basement/substructure construction Item 1.1 Submit documentation demonstrating reduction of excavation volume
Base Design | Proposed Design
Provide drawing, short description and excavation volume | Provide drawing, short description and excavation volume

## Slide 25: Constructability – Structural System [Pre-requisite] Design optimisation for efficient basement/substructure construction Item 1.2 Submit documentation demonstrating construction sequence
Include proposal on constructure sequence (with relevant schematic drawings)

## Slide 26: Constructability – Structural System [Pre-requisite] Formwork System Item 2 Min. 70% Vertical System Formwork [by vertical contact area]
Example: Block X | Vertical Contact Area (m2) |  | 
 | Prefabricated Construction | System Formwork | Traditional / Timber Formwork
1st Storey |  |  | 
2nd Storey |  |  | 
3rd Storey |  |  | 
.. |  |  | 
Sub-total |  |  | 
Total | (%) |  | 
Description of Vertical System Formwork: X (Band 2)

## Slide 27: Constructability – Structural System [Pre-requisite] Formwork System Item 2 Min. 70% Vertical System Formwork [by vertical contact area]
Description of Vertical System Formwork: X (Band 2)
Provide drawings clearly indicating:
Extent of prefabricated construction, cast in-situ area for each formwork system
Colour-coded demarcation of different systems with legend

## Slide 28: Constructability – Structural System [Pre-requisite] Formwork System Item 3 Min. 70% Horizontal System Formwork [by floor area]
Example: Block X | Constructed Floor Area (m2) |  | 
 | Prefabricated Construction | System Formwork | Traditional / Timber Formwork
1st Storey |  |  | 
2nd Storey |  |  | 
3rd Storey |  |  | 
.. |  |  | 
Sub-total |  |  | 
Total | (%) |  | 
Description of Horizontal System Formwork: X (Band 2)

## Slide 29: Constructability – Structural System [Pre-requisite] Formwork System Item 3 Min. 70% Horizontal System Formwork [by floor area]
Description of Horizontal System Formwork: X (Band 2)
Provide drawings clearly indicating:
Extent of prefabricated construction, cast in-situ area for each formwork system
Colour-coded demarcation of different systems with legend

## Slide 30: Constructability – Structural System [Pre-requisite] Design optimisation for efficient production Item 4.1 Submit evidence of design inputs from precaster / specialist
Provide proposals by precaster / specialist e.g. simplifying or standardising design details for x structural component (interface, connections, module types)
[Can be submitted within 6 months from obtaining permit to commence structural works]

## Slide 31: Constructability – Structural System [Pre-requisite] Design considerations for practical construction Item 5.1 Submit documentation demonstrating that design includes permanent and temporary loads
Provide proposals with short descriptions e.g. strengthening of x components to support permanent/temporary loads

## Slide 32: Constructability – Structural System [Pre-requisite] Design considerations for practical construction Item 5.2 Submit documentation demonstrating that components sizes are optimised for delivery with or without escort
Provide proposals showing the dimensions of components are designed to facilitate delivery w/o escort
If dimensions of components exceed limits, design team shall justify benefits of having an oversize components e.g. modular component to reduce no. of hoist, higher productivity, quality assurance, etc.

## Slide 33: Constructability – Structural System [Pre-requisite] Design considerations for practical construction Item 5.3 Submit documentation demonstrating that sufficient space is catered for storage and installation of large structural components
Provide plans showing that sufficient space is catered for storage, assembly, construction sequence facilitating the manoeuvre and installation of large structural components

## Slide 34: Constructability – Structural System [Pre-requisite] Design considerations for practical construction Item 5.4 Submit documentation demonstrating design of self-supporting components to reduce false work
Provide proposals demonstrating design concepts for modular / volumetric / self-supporting structural components, and thereby minimising the need for falsework

## Slide 35: Constructability – Structural System [Pre-requisite] Design considerations for practical construction Item 5.5 Submit documentation demonstrating studies on access and lifting plan (ensure lifting operations are within height limits)
Provide proposals that access and lifting activities (e.g. hoisting) comply with regulatory limits

## Slide 36: Constructability – Structural System [Pre-requisite] Design considerations for practical construction Item 5.6 Submit productive practices for installation of PPVC/APCS/MET/Structural Steel system
Provide proposals demonstrating productive practices to facilitate installation of DfMA structural systems
[Can be submitted within 6 months from obtaining permit to commence structural works]

## Slide 37: Constructability – Architectural System [Pre-requisite] Design optimisation for efficient production Item 1.1 Submit evidence of design inputs from precaster / specialist
Provide proposals by precaster / specialist e.g. greater standardisation, reduce variation of moulds for architectural components
[Can be submitted within 6 months from obtaining permit to commence structural works]

## Slide 38: Constructability – Architectural System [Pre-requisite] Design considerations for practical construction Item 2.1 Submit documentation demonstrating that design includes loadings for architectural finishes
Provide proposals with short descriptions e.g. strengthening of x components to support loadings from architectural components

## Slide 39: Constructability – Architectural System [Pre-requisite] Design considerations for practical construction Item 2.2 Submit documentation demonstrating that components sizes are optimised for delivery with or without escort
Provide proposals showing the dimensions of components are designed to facilitate delivery w/o escort
If dimensions of components exceed limits, design team shall justify benefits of having an oversize components e.g. modular component to reduce no. of hoist, higher productivity, quality assurance, etc.

## Slide 40: Constructability – Architectural System [Pre-requisite] Design considerations for practical construction Item 2.3 Submit documentation demonstrating that sufficient space is catered for storage and installation of large architectural components
Provide plans showing that sufficient space is catered for storage, assembly, construction sequence facilitating the manoeuvre and installation of large architectural components

## Slide 41: Constructability – Architectural System [Pre-requisite] Design considerations for practical construction Item 2.4 Submit productive practices for installation of architectural wall
Provide proposals demonstrating productive practices to facilitate installation of architectural walls
[Can be submitted within 6 months from obtaining permit to commence structural works]

## Slide 42: Constructability – Architectural System [Pre-requisite] Design considerations for practical construction Item 2.5 Submit productive practices for installation of architectural finishes
Provide proposals demonstrating productive practices to facilitate installation of architectural finishes
[Can be submitted within 6 months from obtaining permit to commence structural works]

## Slide 43: Constructability – MEP System [Pre-requisite] Design optimisation for efficient production Item 1.1 Submit evidence of design inputs from PMEP specialist
Provide proposals by specialist e.g. study potential PMEP modules and spatial requirements
[Can be submitted within 6 months from obtaining permit to commence structural works]

## Slide 44: Constructability – MEP System [Pre-requisite] Design considerations for practical construction Item 2.1 Submit documentation demonstrating that design includes loadings for PMEP modules
Provide proposals with short descriptions e.g. strengthening of x components to support PMEP modules

## Slide 45: Constructability – MEP System [Pre-requisite] Design considerations for practical construction Item 2.2 Submit documentation demonstrating that module sizes are optimised for delivery with or without escort
Provide proposals showing the dimensions of components are designed to facilitate delivery w/o escort
If dimensions of components exceed limits, design team shall justify benefits of having an oversize components e.g. modular component to reduce no. of hoist, higher productivity, quality assurance, etc.

## Slide 46: Constructability – MEP System [Pre-requisite] Design considerations for practical construction Item 2.3 Submit documentation demonstrating that sufficient space is catered for storage and installation of large PMEP components
Provide plans showing that sufficient space is catered for storage, assembly, construction sequence facilitating the manoeuvre and installation of large MEP components

## Slide 47: Constructability – MEP System [Pre-requisite] Design considerations for practical construction Item 2.4 Submit productive practices for installation of PMEP modules
Provide proposals demonstrating productive practices to facilitate installation of PMEP modules
[Can be submitted within 6 months from obtaining permit to commence structural works]

## Slide 48: Integrated Digital Delivery [IDD]

## Slide 49: Constructability – IDD [Pre-requisites] For more details, please refer to https://go.gov.sg/iddusecases
S/N | IDD Use Case | Digital Means [Software / Platform]
1.1 | Visualisation and Design Checks i.e. use BIM to visualise, coordinate and validate the design as part of preparing regulatory submission and BIM handover at construction tender stage | 
1.2 | BIM-based Documentation i.e. prepare documents based on info generated from BIM for regulatory submission and tender/shop drawings | 
1.3 | Data-driven Project Performance Monitoring [For Projects with GFA ≥ 25,000m2 only] i.e. use of dashboards to aggregate and analyse data for project performance including but not limited to RFI, RFA, Safety, DfMA production, delivery and installation, Manpower, Equipment inventory, Site progress, RVO, Progress Claim, QA/QC defects, Handover status of defect monitoring at DLP, etc. | 
 | Input at least 1 parameter for performance monitoring | 

## Slide 50: Constructability – IDD [Pre-requisites] For more details, please refer to https://go.gov.sg/iddusecases
For each use case:
Provide proposal on how each use case will be implemented
Provide screenshots justifying adoption i.e. project-specific digital means (software/platform) [Can be submitted within 6 months from obtaining permit to commence structural works]

## Slide 51: Constructability – IDD For more details, please refer to https://go.gov.sg/iddusecases
S/N | IDD Use Case | Digital Means [Software / Platform]
2.1 | Integrated Concurrent Engineering (ICE) Meetings | 
2.2 | Digital Submission and Approval | 
2.3 | Digital Request for Information (RFI) | 
2.4 | BIM-based Cost Estimation | 
2.5 | Digital Contract Management | 
2.6 | Digital Construction Scheduling and Sequencing | 
2.7 | Digital Logistics | 
2.8 | Digital Safety Planning and Management | 
2.9 | Digital Site Management | 
2.10 | Digital Progress Monitoring | 
2.11 | Digital Inspection | 
2.12 | Digital Defects Management | 
2.13 | Digital Handover | 

## Slide 52: Constructability – IDD For more details, please refer to https://go.gov.sg/iddusecases
For each use case:
Provide proposal on how each use case will be implemented
Provide screenshots justifying adoption i.e. project-specific digital means (software/platform) [Can be submitted within 6 months from obtaining permit to commence structural works]

## Slide 53: Robotics & Automation

## Slide 54: Constructability – R&A Solutions
Provide proposals showing:
R&A solution and supplier
Breakdown of trade productivity
Drawings indicating extent of adoption with colour-coded demarcation
Computation of coverage
[Can be submitted within 6 months from obtaining permit to commence structural works]

## Slide 55: Productivity Improvement [For projects with min. productivity improvement requirements]

## Slide 56: Productivity Improvement Provide breakdown of planned manday utilisation
Trade | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Structure |  |  |  |  |  |  |  |  |  |  |  | 
Archi |  |  |  |  |  |  |  |  |  |  |  | 
MEP |  |  |  |  |  |  |  |  |  |  |  | 
Others |  |  |  |  |  |  |  |  |  |  |  | 
Total |  |  |  |  |  |  |  |  |  |  |  | 
Total CumulativeManday |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 57: Productivity Improvement Manday Utilisation Histogram [Mandays vs. Months]
Chart: Cumulative no. of mandays across project duration
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Cumulative Mandays (Actual) | 40 | 90 | 140 | 190 | 240 | 290 | 340 | 390 | 440 | 490 | 540 | 590
Cumulative Mandays (Plan) | 50 | 100 | 150 | 200 | 250 | 300 | 350 | 400 | 450 | 500 | 550 | 600
Note: Cumulative Mandays (Actual) shall be the same as ePSS data

## Slide 58: Productivity Improvement Provide breakdown of planned manpower utilisation
Trade | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Structure |  |  |  |  |  |  |  |  |  |  |  | 
Archi |  |  |  |  |  |  |  |  |  |  |  | 
MEP |  |  |  |  |  |  |  |  |  |  |  | 
Others |  |  |  |  |  |  |  |  |  |  |  | 
Total |  |  |  |  |  |  |  |  |  |  |  | 
Total Cumulative WPH |  |  |  |  |  |  |  |  |  |  |  | 

## Slide 59: Productivity Improvement Manpower Utilisation Histogram [Manpower vs. Months]
Chart: Cumulative no. of unique workers across project duration
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Cumulative No. of Unique WPH (Actual) | 40 | 90 | 140 | 190 | 240 | 290 | 340 | 390 | 440 | 490 | 540 | 590
Cumulative No. of Unique WPH (Plan) | 50 | 100 | 150 | 200 | 250 | 300 | 350 | 400 | 450 | 500 | 550 | 600
Note: Cumulative No. of Unique WPH (Actual) shall be the same as ePSS data