CONFIDENTIAL

SINGAPORE ACCREDITATION COUNCIL

PROFICIENCY TESTING PROVIDERS (PTP) ACCREDITATION SCHEME

| Proficiency Testing Provider Assessment Checklist |  |  |  |
| --- | --- | --- | --- |
| Type of Assessment | : | Preliminary / Initial / Renewal / Surveillance / Non-Routine / Verification |  |
| Facility | : |  |  |
| Address | : |  |  |
| Tel / Fax | : |  |  |
| Names of persons seen | : |  |  |
| Date of visit | : |  |  |
| Technical Assessor(s)/Expert(s) | : |  |  |
| Lead Assessor | : |  |  |
|  |  | Name | Date |

References

ISO/IEC 17043:2023, SAC-01, SAC-02, PTP 001

|  | Description |
| --- | --- |
| To Produce | Mandatory to meet the requirement |
| To Consider | Guidance to meet the requirement |

| Clause No. | Description | Yes | No | N.A. | Remarks |
| --- | --- | --- | --- | --- | --- |
| 4. | General Requirements |  |  |  |  |
| 4.1 | Impartiality |  |  |  |  |
| 4.1.1, 4.1.2, 4.1.3, 4.1.4, | Is the PT provider structured and managed so as to safeguard impartiality? This includes processes to monitor and ensure impartiality of the PT provider’s activities and its relationships. To consider: - Organization chart and Job Descriptions - Policies and procedures to manage threats and issues, e.g. code of conduct - Risk matrix and assessment - Declaration forms relating to impartiality |  |  |  |  |
| 4.1.5 | If a threat to impartiality is identified, does the PT provider eliminate or minimize its effect so that impartiality is not compromised? |  |  |  |  |
| 4.1.6 | Does the PT provider have top management commitment to impartiality? To consider - Management review - Code of conduct |  |  |  |  |
| 4.2 | Confidentiality |  |  |  |  |
| 4.2.1 | How is the PT provider responsible, through legally enforceable agreements, for the management of all information obtained or created during the performance of PT activities? To consider - Code of conduct - Contractual agreement - Declaration forms relating to confidentiality Does the PT provider inform the client in advance of the information it intends to place in the public domain? |  |  |  |  |
| 4.2.2, 4.2.3, 4.2.4, 4.2.5 | Does the PT provider have processes and/or records to show how they maintain confidentiality which include: - Notification to clients of release of information, when required by law or authorized by contractual agreement - Management of third-party source of information about the participant or customer - Management of personnel - Management of participants’ identity |  |  |  |  |
| 5. | Structural Requirements |  |  |  |  |
| 5.1 | Is the PT provider a legal entity, or a defined part of a legal entity, that is legally responsible for its PT activities? To produce - Valid ACRA Certificate - Company registration number |  |  |  |  |
| 5.2 | Does the PT provider identify management that has overall responsibility for the PT activities? To consider - Job description - Organization chart |  |  |  |  |
| 5.3, 5.4 | Does the PT provider define, document and carried out the PT schemes and activities in accordance to ISO/IEC 17043:2023? Are requirements from regulatory authorities, participants and customers considered in the design of PT activities? Does the PT provider only claim conformity with ISO/IEC 17043:2023 for those PT schemes? Do the requirements apply to all PT activities performed in its permanent facilities and any other facility or site? |  |  |  |  |
| 5.5 | Does the PT provider: |  |  |  |  |
|  | define its organization and management structure, its place in any parent organization and the relationships between the management, technical operations and support services; |  |  |  |  |
|  | specify the responsibility, authority and interrelationships of all personnel who manage, perform or verify work affecting the results of its PT activities; |  |  |  |  |
|  | document its procedures to the extent necessary to ensure the consistent application and validity of its PT activities? |  |  |  |  |
|  | To consider Job description, Organization chart, Roles and Responsibilities, Standard Operating Procedures |  |  |  |  |
| 5.6 | Does the PT provider have personnel who, irrespective of other responsibilities, have the authority and resources needed to carry out their duties, including: |  |  |  |  |
|  | implementation, maintenance and improvement of the management system; |  |  |  |  |
|  | identification of deviations from the management system or from the procedures while performing the PT activities; |  |  |  |  |
|  | initiation of actions to prevent or minimize such deviations; |  |  |  |  |
|  | reporting to its management on the performance of the management system and any need for improvement; |  |  |  |  |
|  | ensuring the effectiveness of the PT activities? |  |  |  |  |
| 5.7 | Does the PT provider management ensure that: |  |  |  |  |
|  | communication takes place regarding the effectiveness of the management system and the importance of meeting the requirements of participants, customers, regulatory authorities and organizations providing recognition; |  |  |  |  |
|  | the integrity of the management system is maintained when changes to the management system are planned and implemented? |  |  |  |  |
| 6. | Resource Requirements |  |  |  |  |
| 6.1 | General |  |  |  |  |
| 6.1.1 | Does the PT provider have access to the personnel, facilities, equipment, systems and support services necessary to manage and perform its PT activities? |  |  |  |  |
| 6.1.2 | Are the measurements or tests conducted under the responsibility of the PT provider, related to PT item characterization or for assessing homogeneity and stability, conducted in accordance with the relevant requirements of ISO/IEC 17025? |  |  |  |  |
| 6.1.3 | Where the PT item is a material that meets the definition of “reference material”, is it produced under conditions that meet the relevant requirements of ISO 17034? |  |  |  |  |
| 6.2 | Personnel |  |  |  |  |
| 6.2.1 | Does the PT provider have access to a sufficient number of competent personnel to perform its PT activities? |  |  |  |  |
| 6.2.2 and 6.2.3 | Does the PT provider have a process for managing and ensuring the competence of its personnel to: |  |  |  |  |
|  | perform PT activities for which they are responsible; |  |  |  |  |
|  | evaluate the significance of deviations? |  |  |  |  |
| 6.2.5 | Does the PT provider have documented information demonstrating competence of its personnel that can influence the results of its PT activities? - Education - Qualification - Training - Technical knowledge - Skills - Experience To consider - Training and Competency Matrix - Job description - Training records - Curriculum vitae |  |  |  |  |
| 6.2.6 | Does the PT provider, where appropriate, authorize personnel to perform specific activities within PT schemes? This includes but are not limited to the following: |  |  |  |  |
|  | plan PT schemes; |  |  |  |  |
|  | assess data/information to determine stability and homogeneity, if applicable, as well as assigned values and associated uncertainties of the properties or characteristics of the PT item; |  |  |  |  |
|  | evaluate the performance of PT participants; |  |  |  |  |
|  | give opinions and interpretations as well as advice to the participants; |  |  |  |  |
|  | review and authorize PT reports. |  |  |  |  |
| 6.3 | Facilities and environmental conditions |  |  |  |  |
| 6.3.1 | To ensure the validity of the PT activities, does the PT provider ensure that there are appropriate facilities for the operation of the PT scheme? |  |  |  |  |
| 6.3.2 | Does the PT provider ensure that the environmental conditions do not compromise the PT activities, including operations that are undertaken at sites away from the PT provider’s permanent facilities or that are undertaken by external service providers? |  |  |  |  |
| 6.3.3 | Does the PT provider document environmental conditions that can influence the validity of the PT items and any measurements or tests carried out, including conditions that are required by relevant specifications and measurement or test methods? Does the PT provider control, monitor and periodically review these conditions and record all relevant monitoring activities? Are activities halted if environmental conditions compromise the validity of PT activities? To produce - Records of the above |  |  |  |  |
| 6.3.4 | Does the PT provider manage access control to, and use of, areas affecting the PT activities? Does the PT provider determine the extent of access control based on its particular circumstances? |  |  |  |  |
| 6.3.5 | Does the PT provider ensure that there is appropriate separation between neighbouring areas in which there are incompatible PT activities? Are actions taken to prevent cross-contamination, interference or adverse influences on PT activities? |  |  |  |  |
| 6.4 | Externally provided products and services |  |  |  |  |
| 6.4.1 | The PT provider shall not use external service providers for the following activities: |  |  |  |  |
|  | the design and planning of PT schemes; |  |  |  |  |
|  | the evaluation of performance; |  |  |  |  |
|  | the authorization of reports. |  |  |  |  |
| 6.4.3 | Does the PT provider inform participants and customers, in advance and in writing, of products and services that are or can be provided externally, when they affect the validity of the PT activities? |  |  |  |  |
| 6.4.4 | Does the PT provider have a procedure and retain records for: |  |  |  |  |
|  | defining, reviewing and approving the PT provider’s requirements for externally provided products and services; |  |  |  |  |
|  | defining the criteria for selection of the external providers and for evaluating and monitoring their performance; |  |  |  |  |
| (and 6.4.2) | ensuring that externally provided products and services conform to the PT provider’s established requirements and, when applicable, to the relevant requirements of ISO/IEC 17043:2023, before they are used or directly provided to the participant or customer; |  |  |  |  |
|  | taking any actions arising from the performance monitoring and evaluation of the external providers? |  |  |  |  |
|  | To produce - Procedures of the above - Records of the above |  |  |  |  |
| 6.4.5 | Does the PT provider communicate its requirements to external providers for: |  |  |  |  |
|  | the products and services to be provided; |  |  |  |  |
|  | the acceptance criteria; |  |  |  |  |
|  | competence, including any required qualification of the organization or personnel involved; |  |  |  |  |
|  | PT activities that the PT provider or its customers intend to perform at the external provider’s premises? To Consider: - Tenders - Contracts - Specifications - Purchase Orders |  |  |  |  |
| 6.4.6 | Does the PT provider ensure that it is responsible to the participants or customers for the externally provided products and services? |  |  |  |  |
| 7. | Process Requirements |  |  |  |  |
| 7.1 | Establishing, contracting and communicating the PT scheme objectives |  |  |  |  |
| 7.1.1 | Review of requests, tenders and contracts |  |  |  |  |
| 7.1.1.1 | Does the PT provider have a procedure for the review of requests, tenders and contracts? The procedure shall ensure that: |  |  |  |  |
|  | the objectives of the PT scheme are sufficiently defined and in agreement with the customers’ needs; |  |  |  |  |
|  | the requirements are adequately defined, documented and understood; |  |  |  |  |
|  | the PT provider has the capability and resources necessary to meet the requirements; |  |  |  |  |
|  | the PT scheme is technically appropriate taking into account the needs of the given application or field of application? |  |  |  |  |
|  | any externally provided products and services (include 7.1.1.2) |  |  |  |  |
| 7.1.1.3 | Are records of such reviews, including any significant changes, retained? To produce - Records of contract review - Records of any changes and pertinent discussions with customer - Results of the PT activities |  |  |  |  |
| 7.1.1.4 | Does the PT provider inform the customer of any deviation from the contract? |  |  |  |  |
| 7.1.1.5 | If the request or contract is amended after the PT scheme is underway, does the PT provider repeat the contract review and communicate any amendments to all affected personnel? To produce - Records of contract review - Records of communication with affected personnel |  |  |  |  |
| 7.1.2 | PT scheme communication |  |  |  |  |
| 7.1.2.1 | Does the PT provider make detailed information about the PT scheme available to participants and customers? Does it include: |  |  |  |  |
|  | Objectives and relevant details of the PT scheme; |  |  |  |  |
|  | Criteria to be met for participation; |  |  |  |  |
|  | Criteria for demanding the assigned value and the evaluation of performance; |  |  |  |  |
|  | Confidentiality arrangements; |  |  |  |  |
|  | Critical timelines; |  |  |  |  |
|  | Any fees for participation; |  |  |  |  |
|  | Details of how to apply? |  |  |  |  |
| 7.1.2.2 | Are participants and customers advised in a timely manner by the PT provider of any changes in PT scheme design or operation? |  |  |  |  |
| 7.1.2.3 | Are records of relevant communications maintained and retained by the PT provider, as appropriate? |  |  |  |  |
| 7.2 | Design and planning of a PT scheme |  |  |  |  |
| 7.2.1 | General |  |  |  |  |
| 7.2.1.1 | Does the PT provider identify, design and plan those activities which directly affect the validity of the PT scheme and ensure that activities are carried out in accordance with prescribed procedures? |  |  |  |  |
| 7.2.1.2 | When a PT provider intends to introduce significant changes to activities which can affect the validity of the PT scheme, does the PT provider identify and manage the risk to ensure the validity of the PT scheme is maintained? |  |  |  |  |
| 7.2.1.3 | Does the PT provider develop a documented plan before commencement of the PT scheme that addresses the objectives, purpose and basic design of the PT scheme? Does the plan include the following information and, where appropriate, reasons for the selection or exclusion of the specific information: |  |  |  |  |
|  | The personnel involved in the design and operation of the PT scheme; |  |  |  |  |
|  | The activities to be undertaken by external providers of products and services and their contact details; |  |  |  |  |
|  | Criteria to be met for participation in the PT scheme; |  |  |  |  |
|  | The number and type of expected participants in the PT scheme; |  |  |  |  |
|  | Description of activities to be performed and results to be reported by participants; |  |  |  |  |
|  | A description of the range of values or characteristics, or both, to be expected for the PT items; |  |  |  |  |
|  | The potential major sources of errors involved in the area of PT offered; |  |  |  |  |
|  | Requirements for the production, quality control, storage and distribution of PT items; |  |  |  |  |
|  | Arrangements to prevent collusion between participants or falsification of results and procedures to be employed if collusion or falsification of results is suspected; |  |  |  |  |
|  | A description of the information which will be supplied to participants and the time schedule for the various phases of the PT scheme; |  |  |  |  |
|  | For continuous PT schemes, the frequency or dates upon which PT items will be distributed to participants, the deadlines for the return of results by participants and, where appropriate, the dates on which measurements or tests will be carried out by participants; |  |  |  |  |
|  | Any information on methods or procedures which participants must use to store, handle, prepare, ship or dispose of the PT item and perform the measurements or tests; |  |  |  |  |
|  | Procedures for the measurement or test methods to be used for the homogeneity and stability testing of PT items and, where applicable, to determine their biological viability; |  |  |  |  |
|  | Preparation of any standardized reporting formats to be used by participants; |  |  |  |  |
|  | A detailed description of the statistical analysis to be used; |  |  |  |  |
|  | The origin, metrological traceability and uncertainty of any assigned values; |  |  |  |  |
|  | The treatment of results from different measurement or test methods, where permitted by the PT scheme; |  |  |  |  |
|  | Criteria for the evaluation of the performance of participants; |  |  |  |  |
|  | A description of the data, interim reports or information to be returned to participants; |  |  |  |  |
|  | A description of the extent to which participant results, and the conclusions that will be based on the outcome of the PT scheme, will be made public or shared; |  |  |  |  |
|  | Actions to be taken in the case of lost, delayed or damaged PT items? |  |  |  |  |
| 7.2.2 | Statistical design |  |  |  |  |
| 7.2.2.1 | Are statistical designs developed to meet the objectives of the PT scheme, based on the type of data (quantitative or qualitative, including ordinal and nominal), statistical assumptions, the type of errors and the expected number of results? |  |  |  |  |
| 7.2.2.2 | Does the PT provider document the statistical design and data analysis methods to: a) determine the assigned value and b) evaluate the participant results Does the PT provider document the reasons for the selection of data analysis methods and the assumptions upon which the design and methods are based upon? Is the PT provider able to demonstrate that statistical assumptions are reasonable and that statistical analyses are carried out in accordance with prescribed procedures? |  |  |  |  |
| 7.2.2.3 | In designing a statistical analysis, does the PT provider give careful consideration to the following: |  |  |  |  |
|  | The accuracy, as well as the uncertainty, required or expected for the assigned value for each property or characteristic in the PT scheme? |  |  |  |  |
|  | The minimum number of participants in the PT scheme needed to meet the objectives of the statistical design. In cases where there is an insufficient number of participants, does the PT provider document, and provide to participants, details of the alternative approaches used to assess participant performance? |  |  |  |  |
|  | The relevance of significant figures to the reported participant result, including the number of decimal places? |  |  |  |  |
|  | The number of PT items to be measured or tested and the number of repeat measurements or tests to be conducted on each PT item or for each determination? |  |  |  |  |
|  | The procedures used to establish the standard deviation for proficiency assessment or other evaluation criteria? |  |  |  |  |
|  | The procedures to be used to treat participant results from different measurement or test methods which are not technically equivalent, where permitted by the PT scheme? |  |  |  |  |
|  | Whether the measurement uncertainty of participant results shall be reported and how it will be used to evaluate the participant’s performance? |  |  |  |  |
|  | The procedures to be used to identify or handle outliers, or both? |  |  |  |  |
|  | Where relevant, the procedures for the evaluation of values excluded from statistical analysis? |  |  |  |  |
|  | Where appropriate, the objectives to be met for the design and the frequency of PT rounds? |  |  |  |  |
| 7.2.3 | Determination of assigned values |  |  |  |  |
| 7.2.3.1 | Does the PT provider document the procedure for determining the assigned values for the properties or characteristics in a particular PT scheme? Where applicable, does this procedure take into account the metrological traceability and uncertainty required to demonstrate that the PT scheme is fit for its purpose? |  |  |  |  |
| 7.2.3.2 | Do PT schemes in the area of calibration have assigned values with metrological traceability? |  |  |  |  |
| 7.2.3.3 | Does PT provider determine the relevance, need and feasibility for the establishment of metrological traceability and the associated uncertainty of the assigned value for PT schemes in areas other than calibration? |  |  |  |  |
| 7.2.3.4 | When a consensus value is used as the assigned value, does the PT provider provide an estimate of the uncertainty of the assigned value [see Note to 7.2.1.3 item (p)] as described in the plan for the PT scheme? |  |  |  |  |
| 7.2.3.5 | Does the PT provider have a policy regarding the disclosure of assigned values? Does the policy ensure that participants cannot gain advantage from early disclosure? |  |  |  |  |
| 7.3 | Production and distribution of PT items |  |  |  |  |
| 7.3.1 | Production of PT items |  |  |  |  |
| 7.3.1.1 | Does the PT provider establish and implement procedures to ensure that PT items are produced in accordance with the plan described in 7.2 and are fit for the PT scheme’s purpose? |  |  |  |  |
| 7.3.1.2 | Does the PT provider establish and implement procedures to ensure appropriate selection, acquisition, collection, identification, preparation, handling, storage and, where required, disposal of all PT items? |  |  |  |  |
| 7.3.1.3 | In PT schemes that require participants to sample, prepare or manipulate the PT item and submit it to the PT provider, does the PT provider issue appropriate instructions for preparation, environmental conditions (where applicable), packaging, handling, storage and shipping of the PT item? |  |  |  |  |
| 7.3.2 | Homogeneity and stability assessment of PT items |  |  |  |  |
| 7.3.2.1 | Are criteria for suitable homogeneity and stability established and based on the risks that inhomogeneity and instability can impact the evaluation of the performance of participants? |  |  |  |  |
| 7.3.2.2 | Are the procedures for the assessment of homogeneity and stability documented and conducted, where applicable, in accordance with appropriate statistical designs? |  |  |  |  |
| 7.3.2.3 | Is the assessment of homogeneity and stability performed for every PT round after the PT items have been packaged in their final form? |  |  |  |  |
| 7.3.2.4 | Where experimental evidence is needed to assess homogeneity and stability of the PT item (or both), does the PT provider used appropriate methods to assess the homogeneity and stability of the PT item? |  |  |  |  |
| 7.3.2.5 | Are PT items demonstrated to be sufficiently stable to ensure that they will not undergo any significant change throughout the conduct of the PT round, including storage and transport? When this is not possible, is the stability quantified and considered as an additional component of the uncertainty associated with the assigned value of the PT item and/or taken into account in the evaluation criteria? |  |  |  |  |
| 7.3.2.6 | When PT items from previous PT rounds are retained for another PT round, are property values or characteristics to be determined in the PT scheme confirmed by the PT provider prior to distribution? |  |  |  |  |
| 7.3.3 | Handling and storage of PT items |  |  |  |  |
| 7.3.3.1 | Does the PT provider ensure that PT items are appropriately identified and stored to prevent contamination, damage or deterioration prior to distribution? |  |  |  |  |
| 7.3.3.2 | Does the PT provider have appropriate procedures for dispatch to, and receipt from, storage? |  |  |  |  |
| 7.3.3.3 | Is the condition of stored PT items assessed at specific intervals or prior to distribution in order to detect possible deterioration? |  |  |  |  |
| 7.3.3.4 | Where potentially hazardous PT items are used, are facilities available to ensure their safe handling, decontamination and disposal? |  |  |  |  |
| 7.3.4 | Packaging, labelling and distribution of PT items |  |  |  |  |
| 7.3.4.1 | Does the PT provider control packaging and labelling processes to the extent necessary to ensure conformity with relevant national, regional, or international safety and transport requirements? |  |  |  |  |
| 7.3.4.2 | Does the PT provider document relevant environmental conditions for the transport of PT items? If necessary, are environmental conditions monitored during transport? |  |  |  |  |
| 7.3.4.3 | In PT schemes where participants are required to transport the PT items to other participants, or return them to the PT provider, are documented instructions for this transport, to ensure the validity of the PT items, supplied? |  |  |  |  |
| 7.3.4.4 | Does the PT provider ensure that labels are securely attached to the packaging of individual PT items and are designed to remain legible and intact throughout the PT round? |  |  |  |  |
| 7.3.4.5 | Does the PT provider follow a procedure to enable the confirmation of delivery of the PT items? |  |  |  |  |
| 7.3.5 | Instructions for participants |  |  |  |  |
| 7.3.5.1 | Does the PT provider give participants sufficient notice before sending PT items, providing the date on which the PT items are likely to arrive or to be dispatched, unless the design of the PT scheme makes it inappropriate to do so? |  |  |  |  |
| 7.3.5.2 | Does the PT provider give detailed documented instructions to all participants? Do instructions to participants include: |  |  |  |  |
| a) | The necessity to treat PT items in the same manner as routine samples, including use of routine measurement or test methods, unless there are particular requirements of the PT scheme which require departure from this principle? |  |  |  |  |
| b) | Details of factors which can influence the measurements or tests of the PT items, e.g. the nature of the PT items, conditions of storage, whether the PT scheme is limited to selected measurement or test methods and the timing of the measurements or tests? |  |  |  |  |
| c) | Instructions for preparing or conditioning, or both, of the PT items before conducting the measurements or tests that would not be considered part of a laboratory’s usual expected practices, unless these activities are part of the PT scheme? |  |  |  |  |
| d) | Any appropriate instructions on handling the PT items, including any safety requirements? |  |  |  |  |
| e) | Any specific environmental conditions for the participant to conduct measurements or tests, or both, and, if relevant, any requirement for the participants to report relevant environmental conditions during the time of the measurement or test? |  |  |  |  |
| f) | Specific and detailed instructions on the manner of recording and reporting results and associated measurement uncertainties, i.e. when the instructions include reporting of the expanded measurement uncertainty, the reported uncertainty shall include the coverage factor and the coverage probability? |  |  |  |  |
| g) | Specific instructions on providing details concerning the measurement or test method used by the participant, where a single specific measurement or test method is not required? |  |  |  |  |
| h) | Instructions on return or forwarding of the PT items, when applicable? |  |  |  |  |
| i) | The last date for the PT provider to receive the results from the participants? |  |  |  |  |
| j) | Information on the contact details of the PT provider for enquiries? |  |  |  |  |
| 7.4 | Evaluation and reporting of PT scheme results |  |  |  |  |
| 7.4.1 | Data analysis |  |  |  |  |
| 7.4.1.1 | Are results received from participants recorded and analysed by appropriate methods? Are procedures established and implemented to check the validity of data entry, data transfer, statistical analysis, and reporting? |  |  |  |  |
| 7.4.1.2 | Does data analysis generate summary statistics and performance statistics and associated information consistent with the statistical design of the PT scheme? |  |  |  |  |
| 7.4.1.3 | Is the influence of outliers on summary statistics minimized by using an appropriate statistical approach? |  |  |  |  |
| 7.4.1.4 | Does the PT provider have procedures for treatment of results from different measurement or test methods, where the PT scheme allows participants to use different measurement or test methods? |  |  |  |  |
| 7.4.1.5 | Does the PT provider have documented criteria and procedures for dealing with measurement or test results that are inappropriate for statistical evaluation, e.g. because of calculation errors, transpositions and other gross errors? |  |  |  |  |
| 7.4.1.6 | Does the PT provider have documented criteria and procedures to identify and manage situations where PT items that have been distributed and the collected data are subsequently found to be unsuitable for performance evaluation, e.g. because of inhomogeneity, instability, damage or contamination? |  |  |  |  |
| 7.4.2 | Evaluation of performance |  |  |  |  |
| 7.4.2.1 | Does the PT provider use valid methods of evaluation which meet the objectives of the PT scheme? Are the methods documented and include a description of the basis for the evaluation? |  |  |  |  |
| 7.4.2.2 | Where applicable for the objectives of the PT scheme, does the PT provider provide expert commentary on the performance of participants with regard to the following? |  |  |  |  |
| a) | Overall performance against prior expectations, taking measurement uncertainties into account? |  |  |  |  |
| b) | Variation within and between participants, and comparisons with any previous PT rounds, similar PT schemes, or published data? |  |  |  |  |
| c) | Variation between measurement or test methods? |  |  |  |  |
| d) | Possible sources of error (with reference to outliers or poor performance) and suggestions for improving performance? |  |  |  |  |
| e) | Advice and feedback to participants as part of the continuous improvement procedures of participants? |  |  |  |  |
| f) | Situations where unusual factors make evaluation of results and commentary on performance impossible? |  |  |  |  |
| g) | Any other suggestions, recommendations or general comments? |  |  |  |  |
| h) | Conclusions? |  |  |  |  |
| 7.4.3 | PT reports |  |  |  |  |
| 7.4.3.1 | Are PT reports clear, accurate, objective and comprehensive and include data covering the results of all participants, together with an indication of the performance of individual participants? |  |  |  |  |
| 7.4.3.2 | Do reports include the following, unless it is not applicable or the PT provider has valid reasons for not doing so? |  |  |  |  |
|  | The name and contact details of the PT provider? |  |  |  |  |
|  | Identification of person(s) authorizing the report? |  |  |  |  |
|  | An indication of which activities are provided by external providers when they affect the production or characterization of the PT items or the services provided? |  |  |  |  |
|  | The date of issue and status (e.g. preliminary, interim, or final) of the report? |  |  |  |  |
|  | Unique identification that all its components are recognized as a portion of a complete report and a clear identification of the end? |  |  |  |  |
|  | A statement of the extent to which results are confidential? |  |  |  |  |
|  | A unique identification of the report and the PT scheme? |  |  |  |  |
|  | A clear description of the PT items used, including necessary details of the PT item’s production and homogeneity and stability assessment? |  |  |  |  |
|  | The results of participants, including the reported measurement uncertainties? |  |  |  |  |
|  | Procedures used to statistically analyse the data? |  |  |  |  |
|  | Statistical data and summaries, including assigned values, range of acceptable results and graphical displays? |  |  |  |  |
|  | Details of the metrological traceability and uncertainty of any assigned value? |  |  |  |  |
|  | Procedures used to establish any assigned value and its uncertainty? |  |  |  |  |
|  | Assigned values, their uncertainties and summary statistics for measurement or test methods used by each group of participants (if different measurement or test methods are used by different groups of participants)? |  |  |  |  |
|  | Procedures used to establish the standard deviation of proficiency assessment, or other criteria for evaluation? |  |  |  |  |
|  | Comments on the performance of participants? |  |  |  |  |
|  | Information about the design and implementation of the PT scheme? |  |  |  |  |
|  | Advice on the interpretation of the statistical analysis? |  |  |  |  |
|  | Comments or recommendations based on the outcomes of the PT round? |  |  |  |  |
| 7.4.3.3 | Are reports made available to the participants within planned timescales? In sequential PT schemes, e.g. where the turn-around time can be very long, and in PT schemes involving perishable materials, are preliminary or anticipated results provided before final results are disclosed? |  |  |  |  |
| 7.4.3.4 | Does the PT provider have a policy for the use of reports by participants and customers? |  |  |  |  |
| 7.4.3.5 | When it is necessary to issue a new or amended report for a PT scheme or PT round, does the report include the following? |  |  |  |  |
|  | A unique identification? |  |  |  |  |
|  | A reference to the original report that it replaces or amends? |  |  |  |  |
|  | Identification of the amendment and a statement concerning the reason for the amendment or re-issue? |  |  |  |  |
| 7.4.3.6 | When issuing an amended report to a subset of participants, is an analysis of the potential impact on the other participants for that PT scheme and/or PT round made to ensure there is no influence on the general performance of other participants? |  |  |  |  |
| 7.4.3.7 | If the PT provider issues a statement of participation or performance in addition to the PT report, does it ensure that the statement is not misleading? |  |  |  |  |
| 7.5 | Control of the PT scheme process |  |  |  |  |
| 7.5.1 | Technical records |  |  |  |  |
| 7.5.1.1 | Does the PT provider ensure that technical records for each PT activity contain the results, reports and sufficient information to facilitate, if possible, identification of factors affecting the PT performance evaluation and its associated characteristics and enable the repetition of the PT activity under conditions as close as possible to the original? Does the technical records include the date and the identity of personnel responsible for each PT activity and for checking data and results? |  |  |  |  |
| 7.5.1.2 | Are data used to verify the PT items, instructions to participants, the original responses of participants and any other information included in reports recorded at the time they are made and are identifiable with the specific task? |  |  |  |  |
| 7.5.1.3 | Does the PT provider ensure that amendments to technical records can be tracked to previous versions or to original information submitted by participants? Are both the original and amended data and files retained, including the date of alteration, an indication of the altered aspects and the personnel responsible for the alterations? |  |  |  |  |
| 7.5.2 | Control of data and information management |  |  |  |  |
| 7.5.2.1 | Does the PT provider have access to the data and information needed to perform its activities? |  |  |  |  |
| 7.5.2.2 | Is the PT provider information management system used for the collection, processing, recording, reporting, storage or retrieval of data validated for functionality, including the proper functioning of interfaces before introduction? Whenever there are any changes, including PT provider software configuration or modifications to commercial off-the-shelf software, are they authorized, documented and validated before implementation? |  |  |  |  |
| 7.5.2.3 | Is the PT provider information management system: |  |  |  |  |
|  | Protected from unauthorized access? |  |  |  |  |
|  | Safeguarded against tampering and loss? |  |  |  |  |
|  | Operated in an environment that complies with the system supplier or PT provider specifications or, in the case of non-computerized systems, provides conditions which safeguard the accuracy of manual recording and transcription? |  |  |  |  |
|  | Maintained in a manner that ensures the integrity of the data and information? |  |  |  |  |
|  | Able to record system failures and the appropriate immediate and corrective actions? |  |  |  |  |
| 7.5.2.4 | When a PT provider information management system is managed and maintained off-site or through an external service provider, does the PT provider ensure that the external service provider or operator of the system complies with all applicable requirements of ISO/IEC 17043? |  |  |  |  |
| 7.5.2.5 | Does the PT provider ensure that instructions, manuals and reference data relevant to the PT provider information management system are made readily available to personnel? |  |  |  |  |
| 7.5.2.6 | Are calculations and data transfers checked in an appropriate and systematic manner? |  |  |  |  |
| 7.5.3 | Surveillance of the processes |  |  |  |  |
|  | Does the PT provider have a procedure to ensure the validity of the PT scheme? Are surveillance activities planned and reviewed (see also 8.9.2 item n), and the resulting data recorded for the continuous improvement process? |  |  |  |  |
| 7.5.4 | Nonconforming work |  |  |  |  |
| 7.5.4.1 | Does the PT provider have a procedure that is implemented when any aspect of its PT schemes does not conform to its own procedures or the agreed requirements of its participants or customers? Does the procedure(s) ensure that: |  |  |  |  |
|  | The responsibilities and authorities for the management of nonconforming work are defined? |  |  |  |  |
|  | Actions (including halting work of ongoing PT schemes and/or PT rounds and withholding PT schemes and/or PT round reports, as necessary) are defined and are based upon the risk levels established by the PT provider? |  |  |  |  |
|  | An evaluation of the significance of the nonconforming work is made, including an impact analysis on previous PT activities? |  |  |  |  |
|  | A decision on the need for action and timescale is taken immediately, together with any decision about the acceptability of the nonconforming work? |  |  |  |  |
|  | PT scheme participants and customers, as appropriate, are informed and the nonconforming PT items or PT reports already sent to participants are recalled or disregarded? |  |  |  |  |
|  | The responsibility for authorization of the resumption of work is defined? |  |  |  |  |
| 7.5.4.2 | Does the PT provider retain records of nonconforming work and actions as specified in 7.5.4.1 items b) to f)? |  |  |  |  |
| 7.5.4.3 | Where the evaluation indicates that nonconforming work can recur or that there is doubt about the compliance of the PT provider with their own procedures, is the corrective action procedure in 8.7 promptly followed? |  |  |  |  |
| 7.6 | Handling of complaints |  |  |  |  |
| 7.6.1 | Does the PT provider have a documented procedure for handling complaints that shall include at least the following: |  |  |  |  |
|  | A description of the process for receiving, substantiating and investigating the complaint and deciding what actions shall be taken in response? |  |  |  |  |
|  | Tracking and recording the complaint, including the actions undertaken to resolve it? |  |  |  |  |
|  | Ensuring that any appropriate action is taken? |  |  |  |  |
| 7.6.2 | Is a description of the process for handling complaints publicly available? |  |  |  |  |
| 7.6.3 | Upon receipt of a complaint, does the PT provider confirm whether the complaint relates to PT activities and, if so, resolve the complaint? |  |  |  |  |
| 7.6.4 | Is the PT provider receiving the complaint responsible for gathering all necessary information to determine whether the complaint is substantiated? |  |  |  |  |
| 7.6.5 | Whenever possible, does the PT provider acknowledge receipt of the complaint and provide the complainant with the outcome and, if applicable, progress reports? |  |  |  |  |
| 7.6.6 | Does the PT provider ensure that investigation and resolution of complaints will not result on any discriminatory actions? |  |  |  |  |
| 7.6.7 | Is the resolution of complaints made by, or reviewed and approved by, persons not involved in the subject of the complaint in question? Where resources do not permit this, is there any alternative approach that does not compromise impartiality? |  |  |  |  |
| 7.6.8 | Whenever possible, does the PT provider give formal notice of the end of the handling of the complaint to the complainant? |  |  |  |  |
| 7.6.9 | Is the PT provider responsible for all decisions at all levels of the handling process for complaints? |  |  |  |  |
| 7.7 | Handling of appeals |  |  |  |  |
| 7.7.1 | Does the PT provider have a documented procedure for handling appeals that include at least the following? |  |  |  |  |
|  | A description of the process for receiving and investigating the appeal and deciding what actions shall be taken in response? |  |  |  |  |
|  | Tracking and recording the appeal, including the actions undertaken to resolve it? |  |  |  |  |
|  | Ensuring appropriate action is taken? |  |  |  |  |
| 7.7.2 | Is a description of the process for handling appeals publicly available? |  |  |  |  |
| 7.7.3 | Does the PT provider acknowledge receipt of the appeal and provide the appellant with the outcome and, if applicable, progress reports? |  |  |  |  |
| 7.7.4 | Is the PT provider receiving the appeal responsible for gathering all necessary information to determine whether the appeal is valid? |  |  |  |  |
| 7.7.5 | Is the PT provider responsible for all decisions during the process for handling appeals? |  |  |  |  |
| 7.7.6 | Is the decision on the appeal made by, or reviewed and approved by, persons not involved in the decision that is the subject of the appeal in question? |  |  |  |  |
| 7.7.7 | Does the PT provider ensure that investigation and decision on appeals will not result on any discriminatory actions? |  |  |  |  |
| 8. | Management system requirements |  |  |  |  |
| 8.1 | General requirements |  |  |  |  |
| 8.1.1 | Does the PT provider establish, document, implement and maintain a management system to support and demonstrate the consistent fulfilment of the requirements of ISO/IEC 17043 and its scope of PT activities? Indicate PT provider’s choice of management system: ☐ Option A ☐ Option B (accordance to ISO 9001) |  |  |  |  |
| 8.1.3 | How does the PT provider management provide evidence of commitment to the development and implementation of the management system and to continually improve its effectiveness? To consider ISO 9001:2015 clause 5.1 - communicating to the organisation the importance of meeting customer as well as statutory and regulatory requirements - establishing the quality policy - ensuring that quality objectives are established - conducting management reviews - ensuring the availability of resources |  |  |  |  |
| 8.2 | Management system documentation |  |  |  |  |
| 8.2.1 | Do the policies and objectives address the competence, impartiality and consistent operation of the PT provider? |  |  |  |  |
| 8.2.2 | Are all documentation, processes, systems and records related to the fulfilment of the requirements of ISO/IEC 17043 included in, or referenced from, the management system? To consider ISO 9001:2015 clause 4.2.1 |  |  |  |  |
| 8.2.3 | Do all personnel involved in PT activities have access to the parts of the management system documentation and related information that are applicable to their responsibilities? To consider Doc control, access rights to inspectors and contracted inspectors |  |  |  |  |
| 8.3 | Control of management system documents |  |  |  |  |
| 8.3.1 | Does the PT provider control the documents (internal and external) that relate to the fulfilment of ISO/IEC 17043? |  |  |  |  |
| 8.3.2 | Does the PT provider ensure that: |  |  |  |  |
|  | Documents are approved for adequacy prior to issue by authorized personnel? |  |  |  |  |
|  | Documents are periodically reviewed and updated as necessary? |  |  |  |  |
|  | Changes and current revision status of documents are identified? |  |  |  |  |
|  | Relevant versions of applicable documents are available at points of use and their distribution is controlled? |  |  |  |  |
|  | Documents are uniquely identified? |  |  |  |  |
|  | The unintended use of obsolete documents is prevented and that suitable identification is applied to them if they are retained for any purpose? To consider - Documentation can be in any form or any type of medium (include propriety and in-house developed software). - ISO 9001:2015 Clause 4.2.3 |  |  |  |  |
| 8.4 | Control of records |  |  |  |  |
| 8.4.1 | Does the PT provider establish and retain legible records to demonstrate fulfilment of the requirements in ISO/IEC 17043? |  |  |  |  |
| 8.4.2 | Does the PT provider implement the controls needed for the identification, storage, protection, back-up, archive, retrieval, retention time and disposal of its records? |  |  |  |  |
| 8.4.3 | Does the PT provider retain records for a period consistent with its contractual obligations? Is access to these records consistent with the confidentiality commitments and readily available? |  |  |  |  |
| 8.5 | Actions to address risks and opportunities |  |  |  |  |
| 8.5.1 | Does the PT provider consider the risks and opportunities associated with the PT activities in order to: |  |  |  |  |
|  | Give assurance that the management system achieves its intended results? |  |  |  |  |
|  | Enhance desirable effects to achieve the purpose and objectives of the PT provider? |  |  |  |  |
|  | Prevent, or reduce, undesired impacts and potential failures in the PT activities? |  |  |  |  |
|  | Achieve improvement? |  |  |  |  |
| 8.5.2 | Does the PT provider plan: |  |  |  |  |
|  | Actions to address these risks and opportunities? |  |  |  |  |
|  | How to integrate and implement these actions into its management system? |  |  |  |  |
|  | How to evaluate the effectiveness of these actions? To produce Records of identification of risks and opportunities and associated action plans |  |  |  |  |
| 8.5.3 | Are the actions taken to address risks and opportunities proportional to the potential impact on the validity of the PT scheme? |  |  |  |  |
| 8.6 | Improvement |  |  |  |  |
| 8.6.1 | Does the PT provider identify and select opportunities for improvement and implement any necessary actions? |  |  |  |  |
| 8.6.2 | Does the PT provider seek feedback, both positive and negative, from its participants and customers? Is the feedback analysed and used to improve the management system, PT activities and customer service? |  |  |  |  |
| 8.7 | Corrective Actions |  |  |  |  |
| 8.7.1 | When a nonconformity occurs, does the PT provider: |  |  |  |  |
|  | React to the nonconformity and, as applicable: - Take action to control and correct it; - Address the consequences? |  |  |  |  |
|  | Evaluate the need for action to eliminate the cause(s) of the nonconformity and prevent recurrence? |  |  |  |  |
|  | Implement any action needed? |  |  |  |  |
|  | Review the effectiveness of any corrective action taken? |  |  |  |  |
|  | Update risks and opportunities determined during planning, if necessary? |  |  |  |  |
|  | Make changes to the management system, if necessary? |  |  |  |  |
| 8.7.2 | Are the corrective actions appropriate to the effects of the nonconformities encountered? |  |  |  |  |
| 8.7.3 | Does the PT provider retain records as evidence of: |  |  |  |  |
|  | The nature of the nonconformities, cause(s) and any subsequent actions taken? |  |  |  |  |
|  | The effectiveness of any corrective action? To produce - Records of nonconformities, cause(s) and any subsequent actions taken - Records of the effectiveness of any corrective action |  |  |  |  |
| 8.8 | Internal audits |  |  |  |  |
| 8.8.1 | Does the PT provider conduct internal audits at planned intervals to provide information on whether the management system: |  |  |  |  |
|  | Conforms to: - The PT provider’s own requirements for its management system, including the PT activities; - The requirements of ISO/IEC 17043? |  |  |  |  |
|  | Is effectively implemented and maintained? |  |  |  |  |
| 8.8.2 | Does the PT provider: |  |  |  |  |
|  | Plan, establish, implement and maintain an audit programme including the frequency, methods, responsibilities, planning requirements and reporting, which shall take into consideration the importance of the PT activities concerned, changes affecting the PT provider, and the results of previous audits? |  |  |  |  |
|  | Ensure that internal audits are performed by personnel knowledgeable in conducting PT activities and auditing and the requirements of ISO/IEC 17043 and that these personnel are independent of activities being audited, wherever resources permit? |  |  |  |  |
|  | Define the audit criteria and scope for each audit? |  |  |  |  |
|  | Ensure that the results of the audits are reported to relevant management? |  |  |  |  |
|  | Implement appropriate corrections and corrective actions without undue delay? |  |  |  |  |
|  | Retain records as evidence of the implementation of the audit programme and the audit results? |  |  |  |  |
| 8.9 | Management reviews |  |  |  |  |
| 8.9.1 | Does the PT provider management review its management system at planned intervals, in order to ensure its continuing suitability, adequacy and effectiveness, including the stated policies and objectives related to the fulfilment of ISO/IEC 17043? |  |  |  |  |
| 8.9.2 | Does the PT provider record inputs to management review and include information related to the following: |  |  |  |  |
|  | Changes in internal and external issues that are relevant to the PT provider; |  |  |  |  |
|  | Fulfilment of objectives; |  |  |  |  |
|  | Suitability of policies and procedures; |  |  |  |  |
|  | Status of actions from previous management reviews; |  |  |  |  |
|  | Outcome of recent internal audits; |  |  |  |  |
|  | Corrective actions; |  |  |  |  |
|  | Assessments by external bodies; |  |  |  |  |
|  | Changes in the volume and type of work or in the range of PT activities; |  |  |  |  |
|  | Customer, participant and personnel feedback; |  |  |  |  |
|  | Complaints and appeals; |  |  |  |  |
|  | Effectiveness of any implemented improvements; |  |  |  |  |
|  | Adequacy of resources; |  |  |  |  |
|  | Results of risk identification; |  |  |  |  |
|  | Outcomes of the surveillance of the processes; |  |  |  |  |
|  | Other relevant factors, such as training. |  |  |  |  |
| 8.9.3 | Does the outputs from the management review record all decisions and actions related to at least: |  |  |  |  |
|  | The effectiveness of the management system and its processes; |  |  |  |  |
|  | The improvement of the activities related to the fulfilment of the requirements of this document; |  |  |  |  |
|  | Provision of required resources; |  |  |  |  |
|  | Any need for changes. |  |  |  |  |
|  | Requirements |  |  |  |  |
| A. 4.2(a) 4.2 (b) (i) (ii) (iii) (iv) (v) (vi) (vii) (viii) 4.2(e) 4.2(f) 4.2(g) 4.2(h) 4.2(i) 4.2(j) 4.2(k) | Obligations of the accredited organisations Offer to all customers a standard of service consistent with the SAC terms and conditions and maintain impartiality and integrity in all operations; Immediately notify SAC-SINGLAS on: Any change in its legal, commercial or organisational status; Any changes in organisation, top management and key personnel e.g. key managerial staff, management representative and approved signatories who could affect the performance or competence of the laboratory; Plans to conduct any accredited activities outside the Republic of Singapore; Change of resources and premises, Any lawsuit or criminal investigation of the laboratory or its staff; Any changes to the scope of accreditation; Any significant changes in main policies; Any other matters that may affect the ability of the laboratory to fulfil requirements for accreditation; Not to use the accreditation status in such a manner as to bring SAC into disrepute and not make any statement related to the accreditation which SAC may consider misleading or unauthorized; Provide reasonable facilities, such as accommodation, cooperation, and access to documentation, test/calibration standards, personnel and calibration/testing areas for assessors and SAC staff to discharge their duties throughout assessments and resolution of complaints; Make prompt payment to SAC of all necessary fees levied by SAC; Upon the withdrawal of accreditation forthwith discontinue its use of reference to accreditation and withdraw all advertising materials which contains any reference to accreditation; Make a clear and unequivocal statement in all contacts with its customers that a certificate of accreditation in no way implies that the product or service is approved by SAC; and Not represent or hold itself out as being the agent or partner of SAC or make any representations on behalf of SAC. Ensure the standard of service and integrity of reports are maintained during relocation. Accredited reports can continue to be issued prior to SAC verification of continual compliance at the new location. (NB: Should subsequent findings from SAC during the reassessment show the accreditation requirements are compromised, this may warrant for recall of reports issued.) |  |  |  | SAC 01, clause 3.1 |

| B. | Follow up on last year findings |
| --- | --- |
| C. | Other Observation and Comments Safety (SAC-SINGLAS 001, Clause 8) |
| D. | Additional Notes |